- Daily Sample Log Sheet

| Date |  |  |  |  |  |  | Public swimming pools and spa pools |  |  |  |  | <Name of your public pool> |  |  |  |  |  |  |  |  |  | Opening time: |  |  |  | Closing time: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Time | Free chlorine mg/L |  |  | Total chlorine mg/L | Combined chlorine mg/L |  |  | pH |  | Temp °C | Total alkalinity |  | Cyanuric acid |  |  | Calcium hardness |  | Water clarity NTU |  | Condition of facility |  | Filters operating |  | Are results compliant? |  | Corrective actions required |  | Signed by |
| Water Blance for example, Langelier Saturation Index (LSI) LSI = pH + TF + AF + CF – 12.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | pH |  |  |  |  |  | Temperature factor |  |  |  |  | Alkalinity factor |  |  |  |  | Calcium factor |  |  |  | LSI result |  |  |  | Performed by |  |
| Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Close out |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Position |  |  |  |  |  |  |  |  |  |  |  |
| Signed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date |  |  |  |  |  |  |  |  |  |  |  |
| Supervisor |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Signed: |  |  |  |  |  |  |  |  |  | Date: |  |  |  |